INFRALAN® 24-Port distribution panel 19" 1HE RAL 7035

INFRALAN® 24-Port distribution panel 19" 1HE RAL 7035,

modular design for accommodating up to 24 modules in Keystone format, including adaptable cable management, earthing cable and strain relief via cable ties on the cable rack, white labelling fields per port 15x6mm with transparent cover.

Dimensions: hxbxt 44,45x482,6x125mm

Make: INFRALAN®

Item no.: IVF-24-GR